[image: image1.jpg]CleaverBrooks’ )ﬁi’






Condensate Return System
Sample Specifications
PART I GENERAL

1.1 GENERAL


A. The following sample specifications are provided by Cleaver-Brooks to assist you in specifying your customer's specific needs and application


B. Condensate Return Systems shall be Cleaver-Brooks Model (Specify simplex, or duplex) suitable for 
gpm, at a discharge pressure of  
psig (refer to Selection Table above).

PART 2 PRODUCTS


2.1 SYSTEM COMPONENTS


A. The unit shall consist of the following components:


1. One (substitute two for duplex) Vertical Immersion Pumps, which do not require an isolation valve. These pumps are Cast Iron-Stainless Steel Construction with a wide range of pump sizes and multiple stages. Pumps operate at numerous duty points and pressures. They are built with a standard pump mounting plate for ease of removal and installation


2. One non-code welded receiver made of carbon steel.


3. Tank size shall be gallon capacity.


4. One pump control consisting of a float switch.























1
Rev. 04-11

